## main
heading | content | subAccID
What is UV disinfection and how does it work? | <ul> <li> Ultraviolet disinfection refers to using ultraviolet radiation energy to inactivate bacteria, viruses, fungi, and spores so they are unable to replicate and cause disease.</li> <li>Ultraviolet light exists within the spectrum of light between 10 nm and 400 nm. The disinfection range of UV is within the 100-280 nm wavelengths, known as UV-C, with the peak UV absorption for disinfection activity being around 265 nm.<sup>1</sup> These UV-C wavelengths can be produced by special lamps known as germicidal lamps, and its use in disinfection is also referred to as ultraviolet germicidal irradiation (UVGI).</li> <li>The amount of inactivation is directly related to the UV-C dose received. UV dose is the product of UV light intensity and duration of exposure. The farther away the light source, the less UV-C will reach the targeted microorganism. This means that objects in close proximity to the UV light source will take less time for effective inactivation compared to objects further away.<sup>2</sup></li> </ul>
Is there evidence on the effectiveness of UV-C against COVID-19? | <ul> <li> UV-C radiation is a known disinfectant used for air, water, and nonporous surfaces.<sup>3</sup> Although it is known that UV-C can inactivate viruses, the efficacy of this inactivation depends not only on the wavelength, but also on factors such as the virus structure, virus concentration, irradiation doses and environmental conditions.<sup>4</sup></li> <li>While UV-C radiation has been shown to inactivate the genetic material in other coronaviruses<sup>5</sup> currently there is limited published data about the specific wavelength and dose of UV-C radiation required to inactivate the SARS-CoV-2 virus.<sup>5</sup></li> <li>In a few controlled experimental models,<sup>4,6,7,8,9 </sup>UV-C light disinfection at varying doses and wavelengths has been found to effectively inactivate SARS-CoV-2. However, a recommended disinfectant wavelength and dose for its inactivation has yet to be established. </li> </ul>
Can UV-C be used to disinfect surfaces? | <ul> <li> UV-C has been used for disinfection of certain surfaces (e.g., non-porous, smooth), and under experimental settings can deactivate various pathogens, including SARS-CoV-2.<sup>10</sup></li> <li>Designing UVGI-based products to consistently and uniformly deliver the UV is technically challenging (e.g., compared to chemical-based products). Effectiveness in the real world is additionally dependent upon the appropriateness of the surface being cleaned and user technique, and may potentially cause harm to the user and others nearby.<sup>10-13 </sup>The United States Centers for Disease Control and Prevention (CDC), the World Health Organization (WHO), and Health Canada note the potential harms and limitations of UVGI for surface disinfection of SARS-CoV-2.<sup>11-13 </sup> </li> </ul>
Can UV-C be used to disinfect air through… |  | Q4sub
What are potential limitations of UV-C disinfection? | <ul> <li>An important limitation is the effectiveness of UV-C may be limited by shadowing (areas of the item that the UV-C rays do not reach).<sup>19,20 </sup>In addition, UV-C works best on clean surfaces and objects that are free of dust, dirt, grease and organic matter which may shield microorganisms from the UV-C.<sup>20</sup> Hence, manual cleaning is still important to clear surfaces of dust and organic matter prior to UV-C application, and the CDC, the WHO, and Health Canada note the potential harms and limitations of UVGI for surface disinfection of SARS-CoV-2.<sup>11-13 </sup></li> <li>UV lamps at certain wavelengths can generate ozone which is a respiratory irritant and could have adverse effects on health.<sup>21</sup> It is important to select UV-C lamps that do not produce ozone. Manufacturers may be able to provide data upon request to demonstrate that their UV systems do not produce ozone. </li> <li>There have been cases of eye injury (UV-related photokeratitis) from the use of UV germicidal lamps during the COVID-19 pandemic.<sup>22</sup> Manufacturer’s directions should be followed on use of these lamps and direct exposure to the eyes should be avoided. </li> <li>Oxidation of chemicals (volatile organic compounds) in the air by UVGI may produce fine particles.<sup>23</sup> These reactions are dependent on the level of volatile organic compounds and UV irradiance (radiant power arriving at a surface per unit area, often expressed in units of mW/cm<sup>2<sup>) and the implications of these particles in real world settings require further study. </li> </ul>
What other resources can I check on UV-C disinfection? | <p>Additional resources on UV-C disinfection can be found below.</p> <ul> <li>Centers for Disease Control and Prevention. Miscellaneous inactivating agents: guideline for disinfection and sterilization in healthcare facilities [Internet]. Atlanta, GA: Centers for Disease Control and Prevention; 2008 [cited 2021 May 28]. Available from: <a href="https://www.cdc.gov/infectioncontrol/guidelines/disinfection/disinfection-methods/miscellaneous.html#anchor_1554329810" target="blank">https://www.cdc.gov/infectioncontrol/guidelines/disinfection/disinfection-methods/miscellaneous.html#anchor_1554329810</a></li> <li>Centers for Disease Control and Prevention. Upper-room ultraviolet germicidal irradiation (UVGI) [Internet]. Atlanta, GA: Centers for Disease Control and Prevention; 2021 [modified 2021 Apr 09; cited 2021 May 28]. Available from: <a href="https://www.cdc.gov/coronavirus/2019-ncov/community/ventilation/UVGI.html" target="blank">https://www.cdc.gov/coronavirus/2019-ncov/community/ventilation/UVGI.html</a></li> <li>Chen T, O&rsquo;Keefe J. COVID-19 in indoor environments — air and surface disinfection measures. Vancouver, BC: National Collaborating Centre for Environmental Health; 2020 [cited 2021 May 28]. Available from: <a href="https://ncceh.ca/documents/guide/covid-19-indoor-environments-air-and-surface-disinfection-measures" target="blank">https://ncceh.ca/documents/guide/covid-19-indoor-environments-air-and-surface-disinfection-measures</a></li> <li>Health Canada. Ultraviolet (UV) lights and wands falsely claiming to disinfect against COVID-19 [Internet]. Ottawa, ON: Government of Canada; 2020 [cited 2021 May 28]. Available from: <a href="https://healthycanadians.gc.ca/recall-alert-rappel-avis/hc-sc/2020/74365a-eng.php" target="blank">https://healthycanadians.gc.ca/recall-alert-rappel-avis/hc-sc/2020/74365a-eng.php</a></li> <li>United Kingdom. Scientific Advisory Group for Emergencies, Environmental and Modelling Group. Application of UV disinfection, visible light, local air filtration and fumigation technologies to microbial control [Internet]. London: Crown Copyright; 2020 [cited 2021 May 28]. Available from: <a href="https://assets.publishing.service.gov.uk/government/uploads/system/uploads/attachment_data/file/904656/S0440_EMG_-_Application_of_UV_disinfection__visible_light__local_air_filtration_and_fumigation.pdf" target="blank">https://assets.publishing.service.gov.uk/government/uploads/system/uploads/attachment_data/file/904656/S0440_EMG_-_Application_of_UV_disinfection__visible_light__local_air_filtration_and_fumigation.pdf</a></li> <li>United States Food and Drug Administration. UV lights and lamps: ultraviolet-C radiation, disinfection and coronavirus [Internet]. Silver Spring, MD: United States Food and Drug Administration; 2021 [cited 2021 May 28]. Available from: <a href="https://www.fda.gov/medical-devices/coronavirus-covid-19-and-medical-devices/uv-lights-and-lamps-ultraviolet-c-radiation-disinfection-and-coronavirus" target="blank">https://www.fda.gov/medical-devices/coronavirus-covid-19-and-medical-devices/uv-lights-and-lamps-ultraviolet-c-radiation-disinfection-and-coronavirus</a></li> </ul>
References | <ol> <li>American Society of Heating, Refrigerating and Air-Conditioning Engineers. 2019 ASHRAE handbook – HVAC applications. Atlanta, GA: American Society of Heating, Refrigerating and Air-Conditioning Engineers; 2019. Chapter 62, Ultraviolet air and surface treatment; p. 62.1-17. Available from: <a href="https://www.ashrae.org/file%20library/technical%20resources/covid-19/i-p_a19_ch62_uvairandsurfacetreatment.pdf" target="blank">https://www.ashrae.org/file%20library/technical%20resources/covid-19/i-p_a19_ch62_uvairandsurfacetreatment.pdf</a></li> <li>Lindblad M, Tano E, Lindahl C, Huss F. Ultraviolet-C decontamination of a hospital room: amount of UV light needed. Burns. 2020;46(4):842-9. Available from: <a href="https://doi.org/10.1016/j.burns.2019.10.004" target="blank">https://doi.org/10.1016/j.burns.2019.10.004</a></li> <li>United States Food and Drug Administration. UV lights and lamps: ultraviolet-C radiation, disinfection and coronavirus [Internet]. Silver Spring, MD: United States Food and Drug Administration; 2021 [cited 2021 May 28]. Available from: <a href="https://www.fda.gov/medical-devices/coronavirus-covid-19-and-medical-devices/uv-lights-and-lamps-ultraviolet-c-radiation-disinfection-and-coronavirus" target="blank">https://www.fda.gov/medical-devices/coronavirus-covid-19-and-medical-devices/uv-lights-and-lamps-ultraviolet-c-radiation-disinfection-and-coronavirus</a></li> <li>Inagaki H, Saito A, Sugiyama H, Okabayashi T, Fujimoto S. Rapid inactivation of SARS-CoV-2 with deep-UV LED irradiation. Emerg Microbes Infect. 2020;9(1):1744-7. Available from: <a href="https://doi.org/10.1080/22221751.2020.1796529" target="blank">https://doi.org/10.1080/22221751.2020.1796529</a></li> <li>Heßling M, Hönes K, Vatter P, Lingenfelder C. Ultraviolet irradiation doses for coronavirus inactivation–review and analysis of coronavirus photoinactivation studies. GMS Hyg Infect Control. 2020;15:Doc08. Available from: <a href="https://doi.org/10.3205/dgkh000343" target="blank">https://doi.org/10.3205/dgkh000343</a></li> <li>Ruetalo N, Businger R, Schindler M. Rapid and efficient inactivation of surface dried SARS-CoV-2 by UV-C irradiation. bioRxiv 308098 [Preprint]. 2020 Oct 07 [cited 2021 May 28]. Available from: <a href="https://doi.org/10.1101/2020.09.22.308098" target="blank">https://doi.org/10.1101/2020.09.22.308098</a></li> <li>Biasin M, Bianco A, Pareschi G, Cavalleri A, Cavatorta C, Fenizia C, et al. UV-C irradiation is highly effective in inactivating SARS-CoV-2 replication. Sci Rep. 2021;11(1):6260. Available from: <a href="https://doi.org/10.1038/s41598-021-85425-w" target="blank">https://doi.org/10.1038/s41598-021-85425-w</a></li> <li>Storm N, McKay LG, Downs SN, Johnson RI, Birru D, de Samber M, et al. Rapid and complete inactivation of SARS-CoV-2 by ultraviolet-C irradiation. Sci Rep. 2020;10(1):22421. Available from: <a href="https://doi.org/10.1038/s41598-020-79600-8" target="blank">https://doi.org/10.1038/s41598-020-79600-8</a></li> <li>Kitagawa H, Nomura T, Nazmul T, Omori K, Shigemoto N, Sakaguchi T, et al. Effectiveness of 222-nm ultraviolet light on disinfecting SARS-CoV-2 surface contamination. Am J Infect Control. 2021;49(3):299-301. Available from: <a href="https://doi.org/10.1016/j.ajic.2020.08.022" target="blank">https://doi.org/10.1016/j.ajic.2020.08.022</a></li> <li>Raeiszadeh M, Babak A. A critical review on ultraviolet disinfection systems against COVID-19 outbreak: applicability, validation, and safety considerations. ACS Photonics. 2020;7(11):2941-51. Available from: <a href="https://doi.org/10.1021/acsphotonics.0c01245" target="blank">https://doi.org/10.1021/acsphotonics.0c01245</a></li> <li>Centers for Disease Control and Prevention. Cleaning and disinfecting your facility: every day and when someone is sick [Internet]. Atlanta, GA: Centers for Disease Control and Prevention; 2021 [modified 2021 Apr 05; cited 2021 May 28]. Available from: <a href="https://www.cdc.gov/coronavirus/2019-ncov/community/disinfecting-building-facility.html" target="blank">https://www.cdc.gov/coronavirus/2019-ncov/community/disinfecting-building-facility.html</a></li> <li>World Health Organization. Cleaning and disinfection of environmental surfaces in the context of COVID-19: interim guidance [Internet]. Geneva: World Health Organization; 2020 [cited 2021 May 28]. Available from: <a href="https://apps.who.int/iris/bitstream/handle/10665/332096/WHO-2019-nCoV-Disinfection-2020.1-eng.pdf?sequence=1&isAllowed=y" target="blank">https://apps.who.int/iris/bitstream/handle/10665/332096/WHO-2019-nCoV-Disinfection-2020.1-eng.pdf?sequence=1&amp;isAllowed=y</a></li> <li>Health Canada. Ultraviolet (UV) lights and wands falsely claiming to disinfect against COVID-19 [Internet]. Ottawa, ON: Government of Canada; 2020 [cited 2021 May 28]. Available from: <a href="https://healthycanadians.gc.ca/recall-alert-rappel-avis/hc-sc/2020/74365a-eng.php" target="blank">https://healthycanadians.gc.ca/recall-alert-rappel-avis/hc-sc/2020/74365a-eng.php</a></li> <li>Centers for Disease Control and Prevention. Upper-room ultraviolet germicidal irradiation (UVGI) [Internet]. Atlanta, GA: Centers for Disease Control and Prevention; 2021 [modified 2021 Apr 09; cited 2021 May 28]. Available from: <a href="https://www.cdc.gov/coronavirus/2019-ncov/community/ventilation/UVGI.html" target="blank">https://www.cdc.gov/coronavirus/2019-ncov/community/ventilation/UVGI.html</a></li> <li>Chen T, O&rsquo;Keefe J. COVID-19 in indoor environments — air and surface disinfection measures. Vancouver, BC: National Collaborating Centre for Environmental Health; 2020 [cited 2021 May 28]. Available from: <a href="https://ncceh.ca/documents/guide/covid-19-indoor-environments-air-and-surface-disinfection-measures" target="blank">https://ncceh.ca/documents/guide/covid-19-indoor-environments-air-and-surface-disinfection-measures</a></li> <li>Young LS, Wormser GP. The resurgence of tuberculosis. Scand J Infect Dis Suppl. 1994;93:9-19. </li> <li>Centers for Disease Control and Prevention. Ventilation in buildings [Internet]. Atlanta, GA: Centers for Disease Control and Prevention; 2021 [modified 2021 Jun 02; cited 2021 May 28]. Available from: <a href="https://www.cdc.gov/coronavirus/2019-ncov/community/ventilation.html" target="blank">https://www.cdc.gov/coronavirus/2019-ncov/community/ventilation.html</a></li> <li>Ontario Agency for Health Protection and Promotion (Public Health Ontario). Heating, ventilation and air conditioning (HVAC) systems in buildings and COVID-19 [Internet]. Toronto, ON: Queen's Printer for Ontario; 2021 [cited 2021 May 28]. Available from: <a href="https://www.publichealthontario.ca/-/media/documents/ncov/ipac/2020/09/covid-19-hvac-systems-in-buildings.pdf?la=en" target="blank">https://www.publichealthontario.ca/-/media/documents/ncov/ipac/2020/09/covid-19-hvac-systems-in-buildings.pdf?la=en</a></li> <li>Anderson DJ, Chen LF, Weber DJ, Moehring RW, Lewis SS, Triplett PF, et al. Enhanced terminal room disinfection and acquisition and infection caused by multidrug-resistant organisms and <em>Clostridium difficile</em> (the benefits of enhanced terminal room disinfection study): a cluster-randomised, multicentre, crossover study. Lancet. 2017;389(10071):805-14. Available from: <a href="https://doi.org/10.1016/s0140-6736(16)31588-4" target="blank">https://doi.org/10.1016/s0140-6736(16)31588-4</a></li> <li>Ontario Agency for Health Protection and Promotion (Public Health Ontario), Provincial Infectious Diseases Advisory Committee. Best practices for environmental cleaning for prevention and control of infections in all health care settings [Internet]. 3rd ed. Toronto, ON: Queen&rsquo;s Printer for Ontario; 2018 [cited 2021 May 28]. Available from: <a href="https://www.publichealthontario.ca/-/media/documents/b/2018/bp-environmental-cleaning.pdf?la=en" target="blank">https://www.publichealthontario.ca/-/media/documents/b/2018/bp-environmental-cleaning.pdf?la=en</a></li> <li>Claus H. Ozone generation by ultraviolet lamps. Photochem Photobiol. 2021;97(3):471-6. Available from: <a href="https://doi.org/10.1111/php.13391" target="blank">https://doi.org/10.1111/php.13391</a></li> <li>Sengillo JD, Kunkler AL, Medert C, Fowler B, Shoji M, Pirakitikulr N, et al. UV-photokeratitis associated with germicidal lamps purchased during the COVID-19 pandemic. Ocul Immunol Inflamm. 2021;29(1):76-80. Available from: <a href="https://doi.org/10.1080/09273948.2020.1834587" target="blank">https://doi.org/10.1080/09273948.2020.1834587</a></li> <li>Choi E, Tan Z, Anderson WA. Formation of secondary organic aerosols by germicidal ultraviolet light. Environments. 2019;6(2):17. Available from: <a href="http://dx.doi.org/10.3390/environments6020017" target="blank">http://doi.org/10.3390/environments6020017</a> </li> </ol>

## Q4sub
heading | content
Upper room disinfection? | <ul> <li> “Upper Room” UVGI involves UVGI from a UV source which is placed in the upper part of the room, either on the walls or mounted on the ceiling, directed to the upper zone of the room. <sup>14,15</sup> Baffles or other types of shielding is used to limit UV exposure to people in the occupied space to prevent skin and eye problems. These systems depend on upward air flow in the room (either via heating, ventilation and air conditioning [HVAC] systems, fans, or open windows) to move the air past the UV source(s). <sup>14,15</sup> Thus, proper design, operation and maintenance of the system is important to ensure effectiveness and prevent potential harms.</li> <li>Upper room UVGI has been used in certain settings (e.g., healthcare environments, shelters, correctional facilities) and during tuberculosis outbreaks, and there is existing guidance for their use in this context.<sup>10,14-16 </sup></li> <li> Despite the known disinfecting properties of UVGI, there is currently limited evidence of its effectiveness in reducing COVID-19 transmission in real world settings.<sup>15</sup> It could be considered in addition to existing public health measures such as masking, physical distancing, hand hygiene in certain settings where further measures are sought e.g., where ventilation is suboptimal, infected individuals are expected to be present, masks are removed for eating, crowding may occur.<sup>14 </sup></li> </ul>
In-line systems? | <ul> <li>In-line or in-duct UVGI systems place the UV source within the existing HVAC system (e.g., within the enclosed ducts, exhaust vents, or other locations along the system).<sup>15</sup> As the air passes by the UV source, it is disinfected. Effective UVGI disinfection of air is dependent upon a design that creates an optimal air speed and volume.<sup>15</sup></li> <li>Though there are epidemiologic studies which support that under certain circumstances (e.g., indoor crowding with poor ventilation, limited masking, and increased respirations by occupants) long-range aerosol transmission of COVID-19 can occur, so far transmission via HVAC ducts (e.g., between otherwise unconnected rooms) has not been demonstrated.<sup>17,18</sup> Thus, in-line UVGI would be most useful in contexts where an HVAC system is in place, but exchange with fresh air is limited.<sup>15 </sup>Considerations for setup and maintenance of the system are important (e.g., placement of UVGI source, preventing dust from collecting on the UV source).<sup>15 </sup></li> <li>As with other technologies used to disinfect air with UVGI, the evidence to support its use in preventing COVID-19 transmission is based on what is known about UV disinfection and HVAC systems rather than data demonstrating real-world effectiveness. </li> </ul>